Environmental Monitoring Systems

Handheld

- Useful for carrying out spot checks.

- Manually record readings on spreadsheet.

- Limited by man-power available, data only collected when person available to record.

- Some handhelds also have a datalogger function.

- Some of the handheld sensors available:

| Product | Software and hardware | Cost | Supplier |
| --- | --- | --- | --- |
| Elsec Environmental Meter for Temp, RH, Lux, UV | Software N/A, Battery rechargeable | Sensor £710.40 | Environment Meter, UV, Humidity and Temperature - Preservation Equipment Ltd |

Dataloggers

- Record readings at set time intervals.

- Data must be downloaded before it can be viewed, can be time consuming and not seeing live data.

- Some loggers have displays that show current readings.

- Some of the dataloggers available:

| Product | Software and hardware | Cost | Suppliers |
| --- | --- | --- | --- |
| Tinytag (Ultra, Plus, View 2 etc.) | Tinytag Explorer, cable | Sensor £118 -£198 each Software and cable £78 | Tinytag Ultra data logger - Meaco Measurement and Control Ltd |
| Testo 174H mini datalogger | ComSoft basic software free, USB docking station incl. in set | Sensor £90 each Set (sensor and docking station) £162 Basic software £0 Professional software £358.80 | Testo 174 data logger - Meaco Measurement and Control Ltd https://www.testo.com/en-UK/testo-174-h-set/p/0572-0566 |
| Hanwell (Ellab) Humbug | Hanlog software, cable | Sensor £294 each Software £0 Cable £7 | HumBug Temperature Humidity Logger ¦ Hanwell Pro |
| Button (smaller than 20p) | Temp IT software, USB interface | Sensor £171-£243 Lite software £0 Pro software £162 USB interface £68.40 | Button Loggers - Meaco Measurement and Control Ltd |
| ETI (HTB, HTD) | HTD software, cradle, half AA lithium battery | Sensor £108-£120 Software and cradle £54 | ETI data logger - Meaco Measurement and Control Ltd |
| Rotronic (HL20D, HL-1D) | HW4 software, cable | Sensor £117-£370 each Set (HL20/D sensor and cable) £463.20 Lite software £0 HL-1D cable £7.20 | Rotronic - Meaco Measurement and Control Ltd |
| Eltek Squirrel * | Darca software, LC99 cable | Contact seller for system quotes | Dataloggers for Conservation, Heritage & Museums (d-tech.co.uk) |

*Eltek squirrel provide various systems

- Mini standalone dataloggers

- Telemetric sensors that send data to a receiver, data is downloaded from the receiver instead of from each individual sensor

- Squirrel systems can be upgraded to show live data

Wireless Systems (incl. Bluetooth, WIFI, Telemetric etc.)

- Readings are recorded at set intervals and wirelessly sent to a computer interface or cloud.

- Data can be viewed live.

- Cloud systems allow data to be viewed remotely.

- Some sensors also have displays that show current readings.

- The signal between sensors and receiver must be good and remain intact for reliable data collection.

- Some sensors double as dataloggers for limited periods in case of signal interruption.

- Some of the wireless monitoring systems available:

| Product | Software and hardware | Cost | Suppliers |
| --- | --- | --- | --- |
| Testo 160 TH WIFI datalogger | Testo Cloud software | Sensor £238.80 Basic software £0 Advanced software £13.60-£18.26 /sensor/year | Testo 160TH temperature and humidity WiFi datalogger for museums (meaco.co.uk) |
| EL-WIFI-TH Temp and Humidity Datalogger | EasyLog Cloud, need existing WIFI system, rechargeable battery | Sensor £127-£167 Cloud <5 sensors £0 Cloud for >5 sensors £1.20/sensor/month | EL-WiFi-TH+ Temp. &amp; Humidity Data Logger All Products (filesthrutheair.com) |
| Conserv | Conserv Cloud | Starter kit (2 sensors, gateway, 3-year subscription to cloud) $500 (£360.94) Contact seller for system quotes | Conserv ¦ Homepage ¦ Wireless Environmental Monitoring for Preservation |
| Meaco telemetric** (HTX, MTX, STX) | Sensia II software, narrowband receiver | Contact seller for system quotes | Meaco - Meaco Measurement and Control Ltd |
| Hanwell telemetric** (ML4106 etc) | EMS software | Contact seller for system quotes | Shop - Hanwell |

** Telemetric systems generally need to be professionally installed.